logo_WebVersion_July2008 copy.jpg

**PENDLETON SCHOOL DISTRICT 16R HEALTHY AND SAFE SCHOOLS PLAN**

1. **Responsible Person**

Per OAR 581-022-2223(5)(a) the person responsible for maintaining and implementing the Healthy and Safe Schools Plan is:

Name: Ken Lebsock

Position: Facility Manager

Contact information: ken.lebsock@pendleton.k12.or.us

1. **List of Facilities**

This plan covers the following facilities (OAR 581-022-2223(5)(b):

|  |  |
| --- | --- |
| Building Name | Building Address |
| Pendleton Early Learning Center | 455 SW 13th Street, Pendleton, OR 97801 |
| Administrative Offices | 107 NW 10th Street, Pendleton, OR 97801 |
| McKay Elementary | 1539 SW 44th Street, Pendleton, OR 97801 |
| Sherwood Elementary | 3235 SW Nye Ave, Pendleton, OR 97801 |
| Washington Elementary | 1205 SE Byers, Pendleton, OR 97801 |
| Pendleton Technology & Trade Center | 1700 NW 15th Drive, Pendleton, OR 97801 |
| Sunridge Middle School | 700 SW Runnion Ave, Pendleton, OR 97801 |
| Pendleton High School | 1800 NW Carden Ave, Pendleton, OR 97801 |

1. **Radon**

The district has adopted the Oregon School Board Association (OSBA) model radon plan as required by ORS 332.167.

1. This plan test for radon in any frequently occupied rooms in contact with the ground or located above a basement or crawlspace once every 10 years. The plan will be made available on the district website, [www.pendleton.k12.or.us](http://www.pendleton.k12.or.us).
2. Test results will be provided to PSD School Board, Oregon Health Authority (OHA) and community members and will be made available at the District Office and on the district website, [www.pendleton.k12.or.us](http://www.pendleton.k12.or.us).
3. **Lead in Drinking water**

PSD’s plan to test for and reduce exposure to lead in water used for drinking or food preparation, follows the components recommended by the Oregon Department of Education and the Oregon Health Authority:

1. **Identify sources of lead**: The District will test all taps used for drinking or food preparation in the building to identify any lead problems. We will follow the Environmental Protection Agency’s 3 T’s Revised Technical Guidance to ensure that samples for lead are collected properly and from the right places. As well as use an OHA-accredited drinking water laboratory to analyze samples for lead.
2. **Stop access**: The District will prevent access to water taps that have more than 20 parts per billion (ppb) of lead. This will include shutting off taps, covering water fountains, and providing bottled water to students and staff members.
3. **Communicate**: Results from tests for lead in water will be made available to students, families, and the community as quickly as possible.
4. **Mitigate and correct**: The District will replace the sources of lead in building plumbing. Again, following EPA 3T’s Guidance.
5. **Ongoing Monitoring**: Testing will be done every five years or on an as needed basis. All testing will be in compliance with Oregon Health Authority guidelines.

The EPA’s 3Ts technical guidance is available here: <https://www.epa.gov/sites/production/files/2015-09/documents/toolkit_leadschools_guide_3ts_leadschools.pdf>

1. **Lead Paint**

The Renovation, Repair and Painting Program Rule requires that individuals and firms conducting renovation, repair and painting projects on pre-1978 homes and child-occupied facilities (child care and schools) be certified to follow lead-safe work practices. For more information on this rule, you can visit the following website: <https://public.health.oregon.gov/HealthyEnvironments/HealthyNeighborhoods/LeadPoisoning/ChildCareSchools/Pages/RulesforRenovating.aspx>

In order to comply with the United States Environmental Protection Agency’s Renovation, Repair and Painting Program Rule, district staff are certified to perform the work.

1. **Integrated Pest Management**

The district has adopted an integrated pest management plan as required by ORS 634.700 through 634.750. Community members can access a copy of the IPM plan here: www.pendleton.k12.or.us.

1. **Communication**

The district will make all test results and detailed information explaining the test results available to the public within five business days of receiving the results. Results will be made available by posting the results on the district website, sending notice of the results over the email system, and making the results available in hardcopy at the main administration office.